“APPROVED”

Chairperson of the Public Council
under JSC “O‘ztransgaz”

L. Sharipova

7 October 2026

MINUTES No. 4

of the Public Council on the Activities of the Gas Transportation System and Underground Gas Storage Facilities of JSC “O‘ztransgaz”

7 October 2026                                      Tashkent

AGENDA:

Analysis of the work carried out in the JSC “O‘ztransgaz” system regarding the activities of the gas transportation system and underground gas storage facilities.

Chaired by:

L. Sharipova — Chairperson of the Public Council under JSC “O‘ztransgaz”.

Present:

Members of the Public Council: A. Umarov, Sh. Boboyev, S. Sidikjanova, M. Kosimov, M. Magdiyeva and F. Tadjibaeva.

S. Jo‘rayev, Head of the Gas Distribution and Gas Metering Stations Operation Department of the Main Gas Pipelines Operation Department; R. Muydinov, Head of the Compressor Stations Operation Department; Kh. Makhmudov, Head of the Technical Policy and Methodology Department; and N. Qobilov, Chief Specialist.

Invited: —

The meeting of the Public Council of JSC “O‘ztransgaz” concerning the work carried out in the third quarter of 2026 was opened by L. Sharipova, Chairperson of the Public Council.

L. Sharipova introduced the participants to the agenda item and emphasized the important role of JSC “O‘ztransgaz” in the country’s gas transportation system, ensuring stable and reliable operation of main gas pipelines, the activities of compressor stations, efficient use of underground gas storage facilities, as well as modernization and technical development of the system.

It was also noted that uninterrupted and safe operation of the gas transportation system is important not only for the production efficiency of the Company, but also for ensuring a stable supply of natural gas to consumers.

It was emphasized that particular attention is being paid to strict compliance with industrial and technical safety requirements in the operation of main gas pipelines, phased modernization of existing infrastructure, and introduction of modern technologies.

Following this, S. Jo‘rayev, Head of the Gas Distribution and Gas Metering Stations Operation Department of the Main Gas Pipelines Operation Department, spoke.

In his speech, S. Jo‘rayev noted that the main gas pipeline system of JSC “O‘ztransgaz” is an important component of the unified gas transportation system of the Republic, and provided information on the technical condition, operation, repair and maintenance of the main gas pipelines.

In accordance with Order No. 58 dated 4 May “On measures to prepare main gas pipelines and facilities for efficient and reliable operation during the autumn-winter period of 2026/2027”, relevant measures were developed, and as of 1 October the following work had been completed.

For gas distribution stations:

– the insulation of inlet and outlet pipelines was inspected at 1,035 gas distribution stations (renewed where necessary);

– drainage systems of 506 cleaning filters were inspected (renewed where necessary);

– the operability of 7,894 normally open and closed shut-off devices was inspected;

– 279 shut-off devices were repaired;

– 1,363 gas pressure regulating devices were inspected and repaired;

– 116 gas heating units underwent a complete inspection;

– 1,170 spring-loaded safety valves underwent a complete inspection;

– 2,250 spring-loaded safety valves were adjusted and sealed;

– 808 odorization systems underwent a complete inspection;

– the external surfaces of block equipment and communications at 421 facilities were painted, with signs and gas flow direction indicators restored;

– the operability of the protective automation system in response to pressure changes was checked at 1,508 facilities.

For gas metering stations:

– the insulation of inlet and outlet pipelines at 127 gas metering stations was inspected;

– shut-off devices at 413 gas metering stations were inspected;

– the external surfaces of block equipment and communications at 84 gas metering stations were painted, with signs and gas flow direction indicators restored.

Following this, R. Muydinov, Head of the Compressor Stations Operation Department of JSC “O‘ztransgaz”, spoke.

In his speech, he reported that, in accordance with Order No. 58 dated 4 May, measures had been developed to prepare main gas pipelines and facilities for efficient and reliable operation during the autumn-winter period of 2026/2027, and that as of 1 October the following work had been carried out.

For the technological part of compressor stations:

– scheduled repairs were carried out on 80 gas pumping units, including: m.t. — 19, o.t. — 42, j.t. — 19;

– 58 gas pumping units underwent technical inspection (the work is being performed based on the operating hours of the gas pumping units);

– technical inspection and repair works were carried out on 5,471 shut-off devices;

– scheduled repairs and maintenance were carried out on 299 auxiliary equipment units (air coolers, pumps, compressors and others);

– 8,867 m² of technological equipment at compressor stations was painted;

– filter elements of 124 fuel gas separator blocks were replaced;

– filter cartridges in 1,414 filter-separators were replaced;

– at CS-3 “G‘allaorol”, 130 m of defective pipeline with a diameter of 1,020 mm was replaced from shut-off device unit No. 7 to the dust collectors at the station inlet;

– 201 sections of underground technological pipelines were exposed and technically inspected (trenching);

– the oil level in hydraulic-balloon valves at 391 technological communications was checked and, where necessary, new oil was added;

– heating systems of valves using exhaust gases at 9 technological communications were inspected;

– 12 air-cooled oil units and oil tank heating systems of gas pumping units were inspected.

In 2026, one NK-16-18ST gas turbine engine was returned after major overhaul, delivered and installed on a gas pumping unit at the Ohangaron Compressor Station of Tashkent MGKB.

Two NK-12ST gas turbine engines were returned after major overhaul, delivered, installed and commissioned at the Yangiyer Compressor Station belonging to G‘allaorol MGKB and at Compressor Station No. 2A belonging to Zirabuloq MGKB.

Another two NK-12ST gas turbine engines are planned to be delivered and installed after major overhaul by the end of October.

It was also reported that two DU80L1 gas turbine engines, after major overhaul, had been delivered and installed on the units of DKS-5B Compressor Station belonging to Gazli MGKB.

Following this, F. Makhmudov, Head of the Underground Gas Storage Facility Operation Department, spoke on the activities of the “Khojaabad” underground gas storage facility.

In his speech, he stated that in 2026 it is planned to create a total gas reserve of 5 billion cubic meters at underground gas storage facilities.

As of the current date, approximately 3,600 million cubic meters of natural gas have been accumulated.

Under the action plan for preparing the “Khojaabad” underground gas storage facility for efficient and reliable operation during the autumn-winter period of 2026/2027, the following work was completed:

– adjustment and lubrication, or replacement with new units where defective, of valves and gates of liquid tanks at GYP facilities Nos. 1, 2 and 3 — 9 units in total;

– cleaning of the internal parts of separators at GYP facilities Nos. 1, 2 and 3 — 6 units, with defective parts replaced;

– lubrication, adjustment and inspection of liquid transfer pumps and gates at GYP facilities Nos. 1, 2 and 3 — 4 units;

– adjustment of liquid discharge valves of the main and metering separators at GYP facilities Nos. 1, 2 and 3 — 6 units;

– inspection and cleaning of the internal parts of separators at GYP facilities Nos. 1, 2 and 3 — 6 units;

– during current and major repairs of 19 wells, lubrication and adjustment of well gates, ball and plug valves, as well as replacement of defective units;

– internal parts of 7 heat exchangers (out of 8 planned) were cleaned and inspected. The E-600 heat exchanger is being repaired under factory conditions;

– 11 separators were inspected;

– 3 safety valves were inspected;

– 3 valves were inspected;

– 5 valves were inspected;

– 8 valves were inspected;

– 5 KJ-2250B DEG spraying pumps were inspected;

– inlet and outlet pipelines and valves of 6 heating furnaces were inspected;

– 2 reboilers were inspected and repaired.

– current and major repair works were carried out on 19 wells;

– gas-dynamic studies were carried out at 70 wells using downhole pressure gauges, including determination of Ppl and Tpl.

It was noted that work under four additional items is planned to be completed during the autumn inter-seasonal period.

Following this, N. Qobilov, Chief Specialist of the Technical Policy and Methodology Department, spoke.

In his speech, he reported that, in accordance with Order No. 58 dated 4 May, measures had been developed to prepare main gas pipelines and facilities for efficient and reliable operation during the autumn-winter period of 2026/2027, and the following work had been carried out.

For the linear section of main gas pipelines:

– 57.69 km of defective sections of main gas pipelines were replaced;

– the internal surface of 3,598.7 km of main gas pipelines was cleaned;

– the condition of insulation at 552 above-ground crossings was inspected and repaired;

– the condition of support columns at 378 above-ground crossings was inspected and repaired;

– 875 crossings over railway and motor roads, as well as protective casings installed at these sections, were inspected;

– 2,010 meters of areas near main gas pipelines where there was a risk of water erosion were filled with soil (covered);

– 4,297 line and auxiliary shut-off devices were inspected;

– 26 shut-off devices on the linear section of main gas pipelines were replaced;

– 1,860 trenching works were carried out;

– 122 pig launching and receiving units were inspected;

– 214 emergency vehicles and mechanisms were checked for compliance with the equipment schedules and brought into operational readiness;

– hydraulic/pneumatic tests were carried out on 312.04 km of main gas pipelines.

It was concluded that the implementation of these measures will help prevent difficulties in transporting natural gas through the main gas pipelines and improve the throughput capacity during the autumn-winter period of 2026–2027.

Proposals and comments from members of the Public Council were heard regarding the agenda item.

During the discussion, members of the Public Council proposed paying particular attention to ensuring the reliability and safety of the gas transportation system, regularly monitoring the technical condition of main gas pipelines and compressor stations, efficiently using underground gas storage facilities, broadly introducing modern technologies, and identifying and eliminating existing problems in a timely manner.

The members of the Public Council also noted the advisability of regularly providing the public with open and clear information on the activities of gas transportation system facilities, technical upgrades in the system and the work being carried out.

After a comprehensive discussion of the agenda item, L. Sharipova, Chairperson of the Public Council, proposed positively assessing the work being carried out in this area.

The members of the Public Council unanimously approved the proposal. There were no votes against or abstentions.

RESOLVED:

1. To positively assess the work carried out by JSC “O‘ztransgaz” in the area of the gas transportation system and underground gas storage facilities, aimed at ensuring their reliable, stable and safe operation.

2. To continue systematic work on the operation of main gas pipelines, the activities of compressor stations, regular monitoring of the technical condition of underground gas storage facilities, timely elimination of identified deficiencies, and strict compliance with technical safety requirements.

3. To pay particular attention to modernization of the gas transportation system, introduction of modern technologies, improvement of energy efficiency, and efficient use of existing production capacities.

4. To recommend providing the public with open information on the activities of the gas transportation system and underground gas storage facilities, and regularly publishing information on the work being carried out.

5. To assign the Chairperson and members of the Public Council responsibility for monitoring implementation of this resolution and fulfilment of the established tasks.

Secretary:                                      S. Sidikjanova